## TN
N-113 Spring 2012 Total Nitrogen (mg/L) F-ps = 0.032
Lab ID | Lab | Reported Value | MPV | % Recovery | Diff. From MPV | Method | Z Value | Absolute Z Value
1 | NWML | 0.353 | 0.349 | 101.1461 | 0.004 | Colorimetric | 0.13 | 0.13
59 | DCLS | 0.346 | 0.349 | 99.1404 | 0.003 | Colorimetric | -0.09 | 0.09
105 | PADEP | 0.3 | 0.349 | 85.9599 | 0.049 | Colorimetric | -1.53 | 1.53 | marginal
118 | OWML | 0.36 | 0.349 | 103.1519 | 0.011 | Colorimetric | 0.34 | 0.34
198 | DHMH | 0.341 | 0.349 | 97.7077 | 0.008 | Colorimetric | -0.25 | 0.25
297 | DNREC | 0.386 | 0.349 | 110.6017 | 0.037 | Colorimetric | 1.16 | 1.16
316 | ODU | 0.329 | 0.349 | 94.2693 | 0.02 | Colorimetric | -0.62 | 0.62
318 | CBL | 0.345 | 0.349 | 98.8539 | 0.004 | Colorimetric | -0.13 | 0.13
319 | FairfaxDPW | 0.379 | 0.349 | 108.596 | 0.03 | Colorimetric | 0.94 | 0.94
320 | Horn Point | 0.345 | 0.349 | 98.8539 | 0.004 | Colorimetric | -0.13 | 0.13
N-114 Spring 2012 Total Nitrogen (mg/L) F-ps = 0.173
Lab ID | Lab | Reported Value | MPV | % Recovery | Diff. From MPV | Method | Z Value | Absolute Z Value
1 | NWML | 2.26 | 2.15 | 105.1163 | 0.11 | Colorimetric | 0.64 | 0.64
59 | DCLS | 2.26 | 2.15 | 105.1163 | 0.11 | Colorimetric | 0.64 | 0.64
198 | DHMH | 2.214 | 2.15 | 102.9767 | 0.064 | Colorimetric | 0.37 | 0.37
297 | DNREC | 2.33 | 2.15 | 108.3721 | 0.18 | Colorimetric | 1.04 | 1.04
318 | CBL | 2.326 | 2.15 | 108.186 | 0 | Colorimetric | 1.02 | 1.02
319 | Fairfax DPW | 1.99 | 2.15 | 92.5581 | 0.16 | Colorimetric | -0.92 | 0.92
320 | Horn Point | 2.269 | 2.15 | 105.5349 | 0.119 | Colorimetric | 0.69 | 0.69
Z =1.53

## NH3
N-113 Spring 2012 Ammonia (mg/L) F-ps = 0.012
Lab ID | Lab | Reported Value | MPV | % Recovery | Diff. From MPV | Method | Z Value | Absolute Z Value
1 | NWML | 0.201 | 0.207 | 97.1014 | 0.006 | Colorimetric | -0.5 | 0.5
59 | DCLS | 0.207 | 0.207 | 100 | 0 | Colorimetric | 0 | 0
105 | PADEP | 0.21 | 0.207 | 101.4493 | 0.003 | Colorimetric | 0.25 | 0.25
118 | OWML | 0.21 | 0.207 | 101.4493 | 0.003 | Colorimetric | 0.25 | 0.25
198 | DHMH | 0.21 | 0.207 | 101.4493 | 0.003 | Colorimetric | 0.25 | 0.25
297 | DNREC | 0.249 | 0.207 | 120.2899 | 0.042 | Colorimetric | 3.5 | 3.5 | unsatisfactory
316 | ODU | 0.2051 | 0.207 | 99.0821 | 0.0019 | Colorimetric | -0.16 | 0.16
318 | CBL | 0.204 | 0.207 | 98.5507 | 0.003 | Colorimetric | -0.25 | 0.25
319 | FairfaxDPW | 0.2 | 0.207 | 96.6184 | 0.007 | Colorimetric | -0.58 | 0.58
320 | Horn Point | 0.214 | 0.207 | 103.3816 | 0.007 | Colorimetric | 0.58 | 0.58
N-114 Spring 2012 Ammonia (mg/L) F-ps = 0.054
Lab ID | Lab | Reported Value | MPV | % Recovery | Diff. From MPV | Method | Z Value | Absolute Z Value
1 | NWML | 0.82 | 0.927 | 88.4574 | 0.107 | Colorimetric | -1.98 | 1.98 | marginal
59 | DCLS | 0.93 | 0.927 | 100.3236 | 0.003 | Colorimetric | 0.06 | 0.06
198 | DHMH | 0.955 | 0.927 | 103.0205 | 0.028 | Colorimetric | 0.52 | 0.52
297 | DNREC | 0.956 | 0.927 | 103.1284 | 0.029 | Colorimetric | 0.54 | 0.54
318 | CBL | 0.993 | 0.927 | 107.1197 | 0.066 | Colorimetric | 1.22 | 1.22
319 | FairfaxDPW | 0.891 | 0.927 | 96.1165 | 0.036 | Colorimetric | -0.67 | 0.67
320 | Horn Point | 0.946 | 0.927 | 102.0496 | 0.019 | Colorimetric | 0.35 | 0.35
Z = 1.98

## TKN
N-113 Spring 2012 Ammonia + Organic Nitrogen (mg/L) F-ps =0.036
Lab ID | Lab | Reported Value | MPV | % Recovery | Diff. From MPV | Method | Z Value | Abloute Z Value
1 | NWML | 0.266 | 0.258 | 103.1008 | 0.008 | Colorimetric | 0.22 | 0.22
59 | DCLS | 0.25 | 0.258 | 96.8992 | 0.008 | Colorimetric | -0.22 | 0.22
319 | FairfaxDPW | 0.275 | 0.258 | 106.5891 | 0.017 | Colorimetric | 0.47 | 0.47
N-114 Spring 2012 Ammonia + Organic Nitrogen (mg/L) F-ps = 0.096
Lab ID | Lab | Reported Value | MPV | % Recovery | Diff. From MPV | Method | Z Value | Absolute Z Value
1 | NWML | 1.09 | 1.03 | 105.8252 | 0.06 | Colorimetric | 0.63 | 0.63
59 | DCLS | 1.05 | 1.03 | 101.9417 | 0.02 | Colorimetric | 0.21 | 0.21
319 | FairfaxDPW | 0.879 | 1.03 | 85.3398 | 0.151 | Colorimetric | -1.57 | 1.57 | marginal

## NO3
N-113 Spring 2012 Nitrate as N (mg/L) F-ps =0.006
Lab ID | Lab | Reported Value | MPV | % Recovery | Diff. From MPV | Method | Z Value | Absolute Z Value
59 | DCLS | 0.107 | 0.107 | 100 | 0 | Colorimetric | 0 | 0
105 | PADEP | 0.1 | 0.107 | 93.4579 | 0.007 | Colorimetric | -1.17 | 1.17
118 | OWML | 0.11 | 0.107 | 102.8037 | 0.003 | Other | 0.5 | 0.5
297 | DNREC | 0.109 | 0.107 | 101.8692 | 0.002 | Colorimetric | 0.33 | 0.33
316 | ODU | 0.1071 | 0.107 | 100.0935 | 0.0001 | Colorimetric | 0.02 | 0.02
320 | Horn Point | 0.105 | 0.107 | 98.1308 | 0.002 | Colorimetric | -0.33 | 0.33
N-114 Spring 2012 Nitrate as N (mg/L) F-ps =0.054
Lab ID | Lab | Reported Value | MPV | % Recovery | Diff. From MPV | Method | Z Value | Absolute Z Value
59 | DCLS | 0.929 | 0.95 | 97.7895 | 0.021 | Colorimetric | -0.39 | 0.39
297 | DNREC | 1.01 | 0.95 | 106.3158 | 0.06 | Colorimetric | 1.11 | 1.11
320 | Horn Point | 0.957 | 0.95 | 100.7368 | 0.007 | Colorimetric | 0.13 | 0.13
Z = 1.17

## NO2+NO3
N-113 Spring 2012 Nitrite + Nitrate (mg/L) F-ps = 0.005
Lab ID | Lab | Reported Value | MPV | % Recovery | Diff. From MPV | Method | Z Value | Absolute Z Value
1 | NWML | 0.101 | 0.107 | 94.3925 | 0.006 | Colorimetric | -1.2 | 1.2
59 | DCLS | 0.107 | 0.107 | 100 | 0 | Colorimetric | 0 | 0
105 | PADEP | 0.1 | 0.107 | 93.4579 | 0.007 | Colorimetric | -1.4 | 1.4
118 | OWML | 0.11 | 0.107 | 102.8037 | 0.003 | Colorimetric | 0.6 | 0.6
198 | DHMH | 0.113 | 0.107 | 105.6075 | 0.006 | Colorimetric | 1.2 | 1.2
297 | DNREC | 0.109 | 0.107 | 101.8692 | 0.002 | Colorimetric | 0.4 | 0.4
316 | ODU | 0.1074 | 0.107 | 100.3738 | 0.0004 | Colorimetric | 0.08 | 0.08
318 | CBL | 0.1081 | 0.107 | 101.028 | 0.0011 | Colorimetric | 0.22 | 0.22
319 | FairfaxDPW | 0.104 | 0.107 | 97.1963 | 0.003 | Colorimetric | -0.6 | 0.6
320 | Horn Point | 0.106 | 0.107 | 99.0654 | 0.001 | Colorimetric | -0.2 | 0.2
N-114 Spring 2012 Nitrite + Nitrate (mg/L) F-ps = 0.052
Lab ID | Lab | Reported Value | MPV | % Recovery | Diff. From MPV | Method | Z Value | Absolute Z Value
1 | NWML | 1.08 | 1.13 | 95.5752 | 0.05 | Colorimetric | -0.96 | 0.96
59 | DCLS | 1.117 | 1.13 | 98.8496 | 0.013 | Colorimetric | -0.25 | 0.25
198 | DHMH | 1.169 | 1.13 | 103.4513 | 0.039 | Colorimetric | 0.75 | 0.75
297 | DNREC | 1.18 | 1.13 | 104.4248 | 0.05 | Colorimetric | 0.96 | 0.96
318 | CBL | 1.225 | 1.13 | 108.4071 | 0.095 | Colorimetric | 1.83 | 1.83 | marginal
319 | FairfaxDPW | 1.11 | 1.13 | 98.2301 | 0.02 | Colorimetric | -0.38 | 0.38
320 | Horn Point | 1.144 | 1.13 | 101.2389 | 0.014 | Colorimetric | 0.27 | 0.27
Z = 1.2
Z = 1.4
Z = 1.83

## TP
N-113 Spring 2012 Total Phosphorous (mg/L) F-ps = 0.011
Lab ID | Lab | Reported Value | MPV | % Recovery | Diff. From MPV | Method | Z Value | Absolute Z Value
1 | NWML | 0.259 | 0.253 | 102.3715 | 0.006 | Colorimetric | 0.55 | 0.55
59 | DCLS | 0.248 | 0.253 | 98.0237 | 0.005 | Colorimetric | -0.45 | 0.45
105 | PADEP | 0.234 | 0.253 | 92.4901 | 0.019 | Colorimetric | -1.73 | 1.73 | marginal
118 | OWML | 0.26 | 0.253 | 102.7668 | 0.007 | Colorimetric | 0.64 | 0.64
198 | DHMH | 0.253 | 0.253 | 100 | 0 | Colorimetric | 0 | 0
297 | DNREC | 0.286 | 0.253 | 113.0435 | 0.033 | Colorimetric | 3 | 3 | unsatisfactory
316 | ODU | 0.2346 | 0.253 | 92.7273 | 0.0184 | Colorimetric | -1.67 | 1.67 | marginal
318 | CBL | 0.2452 | 0.253 | 96.917 | 0.0078 | Colorimetric | -0.71 | 0.71
319 | FairfaxDPW | 0.255 | 0.253 | 100.7905 | 0.002 | Colorimetric | 0.18 | 0.18
320 | Horn Point | 0.2567 | 0.253 | 101.4625 | 0.0037 | Colorimetric | 0.34 | 0.34
N-114 Spring 2012 Total Phosphorous (mg/L) F-ps = 0.044
Lab ID | Lab | Reported Value | MPV | % Recovery | Diff. From MPV | Method | Z Value | Absolute Z Value
1 | NWML | 1.08 | 1.07 | 100.9346 | 0.01 | Colorimetric | 0.23 | 0.23
59 | DCLS | 1.07 | 1.07 | 100 | 0 | Colorimetric | 0 | 0
198 | DHMH | 1.12 | 1.07 | 104.6729 | 0.05 | Colorimetric | 1.14 | 1.14
297 | DNREC | 1.15 | 1.07 | 107.4766 | 0.08 | Colorimetric | 1.82 | 1.82 | marginal
318 | CBL | 1.0707 | 1.07 | 100.0654 | 0.0007 | Colorimetric | 0.02 | 0.02
319 | FairfaxDPW | 1.18 | 1.07 | 110.2804 | 0.11 | Colorimetric | 2.5 | 2.5 | unsatisfactory
320 | Horn Point | 1.118 | 1.07 | 104.486 | 0.048 | Colorimetric | 1.09 | 1.09
Z = 2.5

## PO4
N-113 Spring 2012 Orthophosphate (mg/L) F-ps =0.021
Lab ID | Lab | Reported Value | MPV | % Recovery | Diff. From MPV | Method | Z Value | Absolute Z Value
1 | NWML | 0.202 | 0.212 | 95.283 | 0.01 | Colorimetric | -0.48 | 0.48
59 | DCLS | 0.212 | 0.212 | 100 | 0 | Colorimetric | 0 | 0
105 | PADEP | 0.202 | 0.212 | 95.283 | 0.01 | Colorimetric | -0.48 | 0.48
118 | OWML | 0.26 | 0.212 | 122.6415 | 0.048 | Colorimetric | 2.29 | 2.29 | unsatisfactory
198 | DHMH | 0.202 | 0.212 | 95.283 | 0.01 | Colorimetric | -0.48 | 0.48
297 | DNREC | 0.244 | 0.212 | 115.0943 | 0.032 | Colorimetric | 1.52 | 1.52 | marginal
316 | ODU | 0.2187 | 0.212 | 103.1604 | 0.0067 | Colorimetric | 0.32 | 0.32
318 | CBL | 0.2297 | 0.212 | 108.3491 | 0.0177 | Colorimetric | 0.84 | 0.84
319 | FairfaxDPW | 0.218 | 0.212 | 102.8302 | 0.006 | Colorimetric | 0.29 | 0.29
320 | Horn Point | 0.2508 | 0.212 | 118.3019 | 0.0388 | Colorimetric | 1.85 | 1.85 | marginal
N-114 Spring 2012 Orthophosphate (mg/L) F-ps =0.095
Lab ID | Lab | Reported Value | MPV | % Recovery | Diff. From MPV | Method | Z Value | Absolute Z Value
1 | NWML | 0.885 | 1.05 | 84.2857 | 0.165 | Colorimetric | -1.74 | 1.74 | marginal
59 | DCLS | 1.08 | 1.05 | 102.8571 | 0.03 | Colorimetric | 0.32 | 0.32
198 | DHMH | 1.063 | 1.05 | 101.2381 | 0.013 | Colorimetric | 0.14 | 0.14
297 | DNREC | 1.07 | 1.05 | 101.9048 | 0.02 | Colorimetric | 0.21 | 0.21
318 | CBL | 1.073 | 1.05 | 102.1905 | 0.023 | Colorimetric | 0.24 | 0.24
319 | FairfaxDPW | 1.06 | 1.05 | 100.9524 | 0.01 | Colorimetric | 0.11 | 0.11
320 | Horn Point | 1.1303 | 1.05 | 107.6476 | 0.0803 | Colorimetric | 0.85 | 0.85
Z = 2.29
Z = 1.52
Z = 1.74

## Graph Data (hidden)
TN 113
Lab | Reported Value | Absolute Z Value
MPV | 0.349
NWML | 0.353 | 0.13
DCLS | 0.346 | 0.09
PADEP | 0.3 | 1.53
OWML | 0.36 | 0.34
DHMH | 0.341 | 0.25
DNREC | 0.386 | 1.16
ODU | 0.329 | 0.62
CBL | 0.345 | 0.13
FairfaxDPW | 0.379 | 0.94
Horn Point | 0.345 | 0.13
TN 114
Lab | Reported Value | Absolute Z
MPV | 2.15
NWML | 2.26 | 0.64
DCLS | 2.26 | 0.64
DHMH | 2.214 | 0.37
DNREC | 2.33 | 1.04
CBL | 2.326 | 1.02
Fairfax DPW | 1.99 | 0.92
Horn Point | 2.269 | 0.69
NH3 113
Lab | Reported Value | Absolute Z
MPV | 0.207
NWML | 0.201 | 0.5
DCLS | 0.207 | 0
PADEP | 0.21 | 0.25
OWML | 0.21 | 0.25
DHMH | 0.21 | 0.25
DNREC | 0.249 | 3.5
ODU | 0.2051 | 0.16
CBL | 0.204 | 0.25
FairfaxDPW | 0.2 | 0.58
Horn Point | 0.214 | 0.58
NH3 114
Lab | Reported Value | Absolute Z
MPV | 0.927
NWML | 0.82 | 1.98
DCLS | 0.93 | 0.06
DHMH | 0.955 | 0.52
DNREC | 0.956 | 0.54
CBL | 0.993 | 1.22
FairfaxDPW | 0.891 | 0.67
Horn Point | 0.946 | 0.35
TKN 113
Lab | Reported Value | Absolute Z
MPV | 0.258
NWML | 0.266 | 0.22
DCLS | 0.25 | 0.22
FairfaxDPW | 0.275 | 0.47
TKN 114
Lab | Reported Value | Absolute Z
MPV | 1.03
NWML | 1.09 | 0.63
DCLS | 1.05 | 0.21
FairfaxDPW | 0.879 | 1.57
NO3 113
Lab | Reported Value | Absolute Z
MPV | 0.107
DCLS | 0.107 | 0
PADEP | 0.1 | 1.17
OWML | 0.11 | 0.5
DNREC | 0.109 | 0.33
ODU | 0.1071 | 0.02
Horn Point | 0.105 | 0.33
NO3 114
Lab | Reported Value | Absolute Z
MPV | 0.95
DCLS | 0.929 | 0.39
DNREC | 1.01 | 1.11
Horn Point | 0.957 | 0.13
NO2+NO3 113
Lab | Reported Value | Absolute Z
MPV | 0.107
NWML | 0.101 | 1.2
DCLS | 0.107 | 0
PADEP | 0.1 | 1.4
OWML | 0.11 | 0.6
DHMH | 0.113 | 1.2
DNREC | 0.109 | 0.4
ODU | 0.1074 | 0.08
CBL | 0.1081 | 0.22
FairfaxDPW | 0.104 | 0.6
Horn Point | 0.106 | 0.2
NO2+NO3 114
Lab | Reported Value | Absolute Z
MPV | 1.13
NWML | 1.08 | 0.96
DCLS | 1.117 | 0.25
DHMH | 1.169 | 0.75
DNREC | 1.18 | 0.96
CBL | 1.225 | 1.83
FairfaxDPW | 1.11 | 0.38
Horn Point | 1.144 | 0.27
TP 113
Lab | Reported Value | Absolute Z
MPV | 0.253
NWML | 0.259 | 0.55
DCLS | 0.248 | 0.45
PADEP | 0.234 | 1.73
OWML | 0.26 | 0.64
DHMH | 0.253 | 0
DNREC | 0.286 | 3
ODU | 0.2346 | 1.67
CBL | 0.2452 | 0.71
FairfaxDPW | 0.255 | 0.18
Horn Point | 0.2567 | 0.34
TP 114
Lab | Reported Value | Absolute Z
MPV | 1.07
NWML | 1.08 | 0.23
DCLS | 1.07 | 0
DHMH | 1.12 | 1.14
DNREC | 1.15 | 1.82
CBL | 1.0707 | 0.02
FairfaxDPW | 1.18 | 2.5
Horn Point | 1.118 | 1.09
PO4 113
Lab | Reported Value | Absolute Z
MPV | 0.212
NWML | 0.202 | 0.48
DCLS | 0.212 | 0
PADEP | 0.202 | 0.48
OWML | 0.26 | 2.29
DHMH | 0.202 | 0.48
DNREC | 0.244 | 1.52
ODU | 0.2187 | 0.32
CBL | 0.2297 | 0.84
FairfaxDPW | 0.218 | 0.29
Horn Point | 0.2508 | 1.85
PO4 114
Lab | Reported Value | Absolute Z
MPV | 1.05
NWML | 0.885 | 1.74
DCLS | 1.08 | 0.32
DHMH | 1.063 | 0.14
DNREC | 1.07 | 0.21
CBL | 1.073 | 0.24
FairfaxDPW | 1.06 | 0.11
Horn Point | 1.1303 | 0.85