Summary of MDE Water Quality Certification for Conowingo Dam

- On April 27, 2018, the Maryland Department of the Environment (MDE) determined that Exelon’s application for the Conowingo Hydroelectric Dam met the statutory and regulatory criteria for a water quality certification under:

  - Section 401 of the federal Clean Water Act

  - Title 9, Subtitle 3 of the Maryland Code, Environment Article

  - Section 26.08.02 of the Code of Maryland Regulations

- The certification will be published in the May 11, 2018 issue of the Maryland Register.

- MDE determined that the dam adversely impacts water quality in Maryland in the following ways:

  - Barrier to fish passage and unnatural flow.

  - Adverse habitat in the reservoir.

  - Invasive species proliferation in a degraded system.

  - Altering the nature, timing, and delivery method of nutrients and sediment.

  - Trapping of trash and debris.

  - Lack of natural attenuation of nutrients and sediment.

- Exelon will be required to:

  - Comply with all Water Quality Standards for the reservoir and downstream.

  - Implement and comply with provisions of the Fish Passage Improvement Plan, American Eel Passage Improvement Plan and the Invasive Species Mitigation Plan.  This includes the capacity to permit up to 5 million Shad and 12 million Herring to pass the Dam annually (in 2017, only 15,000 Shad and 65 Herring passed the Dam).

  - Transition to a more natural flow regime by 2029, contingent upon research conducted between then and now to better asses to benefits to aquatic life and migratory fish of the proposed new regime.

  - Implement a Nutrient Corrective Action Plan (NCAP) to reduce its annual discharge, beginning in 2025, by six million pounds of N and 260,000 lbs of P or other combination that will achieve an equivalent level of dissolved oxygen.

    - Payment of $17/lb N and $270/lb P may be required in lieu of reductions.

    - Reductions achieved by Bay-watershed states under the Conowingo WIP can be credited toward Exelon’s reductions.

    - Dredging may be included in the NCAP

  - Implement a plan for continuous monitoring of dissolved oxygen below the Dam and a Fish Kill Monitoring Plan.

  - Remove all visible debris using a “clammer” device at least 40 times per year, and a self-propelled skimmer barge daily.

  - Monitor Chlorophyll-A in the Reservoir, and if levels exceed specified amounts, implement a Chlorophyll-A Reduction Plan, and reimburse Baltimore City for costs to treat high levels.

  - Ensure project operations do not cause or contribute to excessive PCB levels in fish tissue in violation of Water Quality Standards.

  - Implement management plans for shorelines, turtles, waterfowl nesting, sturgeons, habitat improvement and fish protection.