## TN
N-135 (Low Conc.) Fall 2017 Total Nitrogen (mg/L) | [5 empty] | F-ps= | 0.039
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.616) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value |  | Absolute Z Value | Rating
1 | NWML | 6.27 | 0.616 | 1017.8571 | 5.654 | Colorimetric | 144.9744 |  | <0.5 | Excellent
59 | DCLS |  |  |  |  | Colorimetric |  |  | 0.51-1.0 | Good
105 | PADEP | 0.64 | 0.616 | 103.8961 | 0.024 | Colorimetric | 0.61538 |  | 1.01-1.50 | Satisfactory
118 | OWML | [7 empty] | 1.51-2.0 | Marginal
198 | DHMH | 0.592 | 0.616 | 96.1039 | 0.024 | Colorimetric | 0.61538 |  | >2.0 | Unsatisfactory
297 | DNREC | 0.616 | 0.616 | 100 | 0 | Colorimetric | 0
316 | ODU | 0.619 | 0.616 | 100.487 | 0.003 | Colorimetric | 0.076923
318 | CBL | 0.629 | 0.616 | 102.1104 | 0.013 | Colorimetric | 0.33333
319 | FairfaxDPW | 0.659 | 0.616 | 106.9805 | 0.043 | Colorimetric | 1.1026
320 | Horn Point | 0.627 | 0.616 | 101.7857 | 0.011 | Colorimetric | 0.28205
Absolute Z Value Equation
[8 empty] | F-ps= | (Uh-Lh)/1.349
[8 empty] | Uh= | Median of the upper half of reported Values
[8 empty] | Lh= | Median of the lower half of reported values
N-136 (High Conc.) Fall 2017 Total Nitrogen (mg/L) | [5 empty] | F-ps= | 0.073
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (1.06) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 1.1 | 1.06 | 103.7736 | 0.04 | Colorimetric | 0.54795
59 | DCLS | 0.94 | 1.06 | 88.6792 | 0.12 | Colorimetric | 1.6438
118 | OWML
198 | DHMH | 1.073 | 1.06 | 101.2264 | 0.013 | Colorimetric | 0.17808
297 | DNREC | 1.04 | 1.06 | 98.1132 | 0.02 | Colorimetric | 0.27397
318 | CBL | 1.063 | 1.06 | 100.283 | 0.003 | Colorimetric | 0.041096
319 | FairfaxDPW | 0.96 | 1.06 | 90.566 | 0.1 | Colorimetric | 1.3699
320 | Horn Point
1.1

## TP
N-135 (Low Conc.) Fall 2017 Total Phosphorus (mg/L) | [5 empty] | F-ps= | 0.007
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.163) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.161 | 0.163 | 98.773 | 0.002 | Colorimetric | 0.28571
59 | DCLS
105 | PADEP | 0.302 | 0.163 | 185.2761 | 0.139 | Colorimetric | 19.8571
118 | OWML
198 | DHMH | 0.159 | 0.163 | 97.546 | 0.004 | Colorimetric | 0.57143
297 | DNREC | 0.155 | 0.163 | 95.092 | 0.008 | Colorimetric | 1.1429
316 | ODU | 0.1699 | 0.163 | 104.2331 | 0.0069 | Colorimetric | 0.98571
318 | CBL | 0.1706 | 0.163 | 104.6626 | 0.0076 | Colorimetric | 1.0857
319 | FairfaxDPW | 0.156 | 0.163 | 95.7055 | 0.007 | Colorimetric | 1
320 | Horn Point | 0.172 | 0.163 | 105.5215 | 0.009 | Colorimetric | 1.2857
N-136 (High Conc.) Fall 2017 Total Phosphorus (mg/L) | [5 empty] | F-ps= | 0.018
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.388) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.392 | 0.388 | 101.0309 | 0.004 | Colorimetric | 0.22222
59 | DCLS
118 | OWML
198 | DHMH | 0.396 | 0.388 | 102.0619 | 0.008 | Colorimetric | 0.44444
297 | DNREC | 0.376 | 0.388 | 96.9072 | 0.012 | Colorimetric | 0.66667
318 | CBL | 0.4084 | 0.388 | 105.2577 | 0.0204 | Colorimetric | 1.1333
320 | Horn Point
319 | FairfaxDPW | 0.363 | 0.388 | 93.5567 | 0.025 | Colorimetric | 1.3889
0.85

## TKN
N-135 (Low Conc.) Fall 2017 Ammonia + Organic Nitrogen (mg/L) | [5 empty] | F-ps= | 0.032
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.180) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.171 | 0.18 | 95 | 0.009 | Colorimetric | 0.28125
59 | DCLS |  |  |  |  | Colorimetric
105 | PADEP | < 1.00 | 0.18 | - | - | Colorimetric | -
319 | FairfaxDPW | 0.24 | 0.18 | 133.3333 | 0.06 | Colorimetric | 1.875
N-136 (High Conc.) Fall 2017 Ammonia + Organic Nitrogen (mg/L) | [5 empty] | F-ps= | 0.05
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.409) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.426 | 0.409 | 104.1565 | 0.017 | Colorimetric | 0.34
319 | FairfaxDPW | 0.329 | 0.409 | 80.4401 | 0.08 | Colorimetric | 1.6
59 | DCLS |  |  |  |  | Colorimetric
1.77

## NH3
N-135 (Low Conc.) Fall2017 Ammonia (mg/L) | [5 empty] | F-ps= | 0.01
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.154) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.149 | 0.154 | 96.7532 | 0.005 | Colorimetric | 0.5
59 | DCLS
105 | PADEP | 0.16 | 0.154 | 103.8961 | 0.006 | Colorimetric | 0.6
118 | OWML | 0.16 | 0.154 | 103.8961 | 0.006 | Colorimetric | 0.6
198 | DHMH | 0.152 | 0.154 | 98.7013 | 0.002 | Colorimetric | 0.2
297 | DNREC | 0.147 | 0.154 | 95.4545 | 0.007 | Colorimetric | 0.7
316 | ODU | 0.1589 | 0.154 | 103.1818 | 0.0049 | Colorimetric | 0.49
318 | CBL | 0.146 | 0.154 | 94.8052 | 0.008 | Colorimetric | 0.8
319 | FairfaxDPW | 0.164 | 0.154 | 106.4935 | 0.01 | Colorimetric | 1
320 | Horn Point | 0.167 | 0.154 | 108.4416 | 0.013 | Colorimetric | 1.3
N-136 (High Conc.) Fall 2017 Ammonia (mg/L) | [5 empty] | F-ps= | 0.026
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.370) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.367 | 0.37 | 99.1892 | 0.003 | Colorimetric | 0.11538
59 | DCLS |  |  |  |  | Colorimetric
118 | OWML | 0.4 | 0.37 | 108.1081 | 0.03 | Colorimetric | 1.1538
198 | DHMH | 0.369 | 0.37 | 99.7297 | 0.001 | Colorimetric | 0.038462
297 | DNREC | 0.354 | 0.37 | 95.6757 | 0.016 | Colorimetric | 0.61538
318 | CBL | 0.345 | 0.37 | 93.2432 | 0.025 | Colorimetric | 0.96154
320 | Horn Point
319 | FairfaxDPW | 0.329 | 0.37 | 88.9189 | 0.041 | Colorimetric | 1.5769

## NO3
N-135 (Low Conc.) Fall2017 Nitrate (mg/L) | [5 empty] | F-ps= | 0.016
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.430) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.43 | 0.43 | 100 | 0 | Colorimetric | 0
59 | DCLS
105 | PADEP | 0.42 | 0.43 | 97.6744 | 0.01 | Colorimetric | 0.625
118 | OWML | 0.46 | 0.43 | 106.9767 | 0.03 | Colorimetric | 1.875
297 | DNREC | 0.407 | 0.43 | 94.6512 | 0.023 | Colorimetric | 1.4375
316 | ODU | 0.4374 | 0.43 | 101.7209 | 0.0074 | Colorimetric | 0.4625
N-136 (High Conc.) Fall 2017 Nitrate (mg/L) | [5 empty] | F-ps= | 0.028
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.63) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.621 | 0.631 | 98.4152 | 0.01 | Colorimetric | 0.35714
118 | OWML | 0.68 | 0.631 | 107.7655 | 0.049 | Colorimetric | 1.75
59 | DCLS
297 | DNREC | 0.607 | 0.631 | 96.1965 | 0.024 | Colorimetric | 0.85714

## PO4
N-135 (Low Conc.) Fall 2017 Orthophosphate (mg/L) | [5 empty] | F-ps= | 0.008
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.150) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.151 | 0.15 | 100.6667 | 0.001 | Colorimetric | 0.125
59 | DCLS
105 | PADEP | 0.154 | 0.15 | 102.6667 | 0.004 | Colorimetric | 0.5
118 | OWML | 0.16 | 0.15 | 106.6667 | 0.01 | Colorimetric | 1.25
198 | DHMH | 0.147 | 0.15 | 98 | 0.003 | Colorimetric | 0.375
297 | DNREC | 0.151 | 0.15 | 100.6667 | 0.001 | Colorimetric | 0.125
316 | ODU | 0.1512 | 0.15 | 100.8 | 0.0012 | Colorimetric | 0.15
318 | CBL | 0.1509 | 0.15 | 100.6 | 0.0009 | Colorimetric | 0.1125
319 | FairfaxDPW | 0.146 | 0.15 | 97.3333 | 0.004 | Colorimetric | 0.5
320 | Horn Point | 0.149 | 0.15 | 99.3333 | 0.001 | Colorimetric | 0.125
N-136 (High Conc.) Fall 2017 Orthophosphate (mg/L) | [5 empty] | F-ps= | 0.015
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.388) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.389 | 0.388 | 100.2577 | 0.001 | Colorimetric | 0.066667
59 | DCLS
118 | OWML | 0.41 | 0.388 | 105.6701 | 0.022 | Colorimetric | 1.4667
198 | DHMH | 0.388 | 0.388 | 100 | 0 | Colorimetric | 0
297 | DNREC | 0.373 | 0.388 | 96.134 | 0.015 | Colorimetric | 1
318 | CBL | 0.3761 | 0.388 | 96.933 | 0.0119 | Colorimetric | 0.79333
320 | Horn Point
319 | FairfaxDPW | 0.371 | 0.388 | 95.6186 | 0.017 | Colorimetric | 1.1333

## NO2+NO3
N-135 (Low Conc.) Fall 2017 Nitrite + Nitrate (mg/L) | [5 empty] | F-ps= | 0.021
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.436) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.431 | 0.436 | 98.8532 | 0.005 | Colorimetric | 0.2381
59 | DCLS
105 | PADEP | 0.43 | 0.436 | 98.6239 | 0.006 | Colorimetric | 0.28571
118 | OWML | 0.46 | 0.436 | 105.5046 | 0.024 | Colorimetric | 1.1429
198 | DHMH | 0.459 | 0.436 | 105.2752 | 0.023 | Colorimetric | 1.0952
297 | DNREC | 0.407 | 0.436 | 93.3486 | 0.029 | Colorimetric | 1.381
316 | ODU | 0.4377 | 0.436 | 100.3899 | 0.0017 | Colorimetric | 0.080952
318 | CBL | 0.472 | 0.436 | 108.2569 | 0.036 | Colorimetric | 1.7143
319 | FairfaxDPW | 0.419 | 0.436 | 96.1009 | 0.017 | Colorimetric | 0.80952
320 | Horn Point | 0.43 | 0.436 | 98.6239 | 0.006 | Colorimetric | 0.28571
N-136 (High Conc.) Fall 2017 Nitrite + Nitrate (mg/L) | [5 empty] | F-ps= | 0.028
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) 0.639 | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.623 | 0.639 | 97.4961 | 0.016 | Colorimetric | 0.57143
59 | DCLS
118 | OWML | 0.68 | 0.639 | 106.4163 | 0.041 | Colorimetric | 1.4643
198 | DHMH | 0.676 | 0.639 | 105.7903 | 0.037 | Colorimetric | 1.3214
297 | DNREC | 0.607 | 0.639 | 94.9922 | 0.032 | Colorimetric | 1.1429
318 | CBL | 0.657 | 0.639 | 102.8169 | 0.018 | Colorimetric | 0.64286
320 | Horn Point | 0.77 | 0.639 | 120.5008 | 0.131 | Colorimetric | 4.6786
319 | FairfaxDPW | 0.631 | 0.639 | 98.748 | 0.008 | Colorimetric | 0.28571
1.44