## TN
N-139 (Low Conc.) Fall 2018 Total Nitrogen (mg/L) | [5 empty] | F-ps= | 0.032
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.307) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value |  | Absolute Z Value | Rating
1 | NWML | 0.313 | 0.307 | 101.9544 | 0.006 | Colorimetric | 0.1875 |  | <0.5 | Excellent
59 | DCLS | 0.31 | 0.307 | 100.9772 | 0.003 | Colorimetric | 0.09375 |  | 0.51-1.0 | Good
105 | PADEP | 0.27 | 0.307 | 87.9479 | 0.037 | Colorimetric | 1.1562 |  | 1.01-1.50 | Satisfactory
118 | OWML |  |  |  |  | Colorimetric |  |  | 1.51-2.0 | Marginal
198 | DHMH | 0.313 | 0.307 | 101.9544 | 0.006 | Colorimetric | 0.1875 |  | >2.0 | Unsatisfactory
297 | DNREC | 0.327 | 0.307 | 106.5147 | 0.02 | Colorimetric | 0.625
316 | ODU | 0.429 | 0.307 | 139.7394 | 0.122 | Colorimetric | 3.8125
318 | CBL | 0.29 | 0.307 | 94.4625 | 0.017 | Colorimetric | 0.53125
319 | FairfaxDPW |  |  |  |  | Colorimetric
320 | Horn Point | 0.303 | 0.307 | 98.6971 | 0.004 | Colorimetric | 0.125
Absolute Z Value Equation
[8 empty] | F-ps= | (Uh-Lh)/1.349
[8 empty] | Uh= | Median of the upper half of reported Values
[8 empty] | Lh= | Median of the lower half of reported values
N-140 (High Conc.) Fall 2018 Total Nitrogen (mg/L) | [5 empty] | F-ps= | 0.074
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (1.14) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 1.13 | 1.14 | 99.1228 | 0.01 | Colorimetric | 0.13514
59 | DCLS | 1.12 | 1.14 | 98.2456 | 0.02 | Colorimetric | 0.27027
118 | OWML | 1.3 | 1.14 | 114.0351 | 0.16 | Colorimetric | 2.1622
198 | DHMH | 1.155 | 1.14 | 101.3158 | 0.015 | Colorimetric | 0.2027
297 | DNREC | 1.22 | 1.14 | 107.0175 | 0.08 | Colorimetric | 1.0811
318 | CBL | 1.09 | 1.14 | 95.614 | 0.05 | Colorimetric | 0.67568
319 | FairfaxDPW |  |  |  |  | Colorimetric
320 | Horn Point | 1.16 | 1.14 | 101.7544 | 0.02 | Colorimetric | 0.27027
1.1

## TP
N-139 (Low Conc.) Fall 2018 Total Phosphorus (mg/L) | [5 empty] | F-ps= | 0.005
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.122) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.122 | 0.122 | 100 | 0 | Colorimetric | 0
59 | DCLS | 0.12 | 0.122 | 98.3607 | 0.002 | Colorimetric | 0.4
105 | PADEP | 0.123 | 0.122 | 100.8197 | 0.001 | Colorimetric | 0.2
118 | OWML |  |  |  |  | Colorimetric
198 | DHMH | 0.115 | 0.122 | 94.2623 | 0.007 | Colorimetric | 1.4
297 | DNREC | 0.121 | 0.122 | 99.1803 | 0.001 | Colorimetric | 0.2
316 | ODU | 0.128 | 0.122 | 104.918 | 0.006 | Colorimetric | 1.2
318 | CBL | 0.1237 | 0.122 | 101.3934 | 0.0017 | Colorimetric | 0.34
319 | FairfaxDPW | 0.135 | 0.122 | 110.6557 | 0.013 | Colorimetric | 2.6
320 | Horn Point | 0.122 | 0.122 | 100 | 0 | Colorimetric | 0
N-140 (High Conc.) Fall 2018 Total Phosphorus (mg/L) | [5 empty] | F-ps= | 0.011
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.295) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.292 | 0.295 | 98.9831 | 0.003 | Colorimetric | 0.27273
59 | DCLS | 0.29 | 0.295 | 98.3051 | 0.005 | Colorimetric | 0.45455
118 | OWML | 0.32 | 0.295 | 108.4746 | 0.025 | Colorimetric | 2.2727
198 | DHMH | 0.288 | 0.295 | 97.6271 | 0.007 | Colorimetric | 0.63636
297 | DNREC | 0.303 | 0.295 | 102.7119 | 0.008 | Colorimetric | 0.72727
318 | CBL | 0.2862 | 0.295 | 97.0169 | 0.0088 | Colorimetric | 0.8
319 | FairfaxDPW
320 | Horn Point | 0.294 | 0.295 | 99.661 | 0.001 | Colorimetric | 0.090909
0.85

## TKN
N-139 (Low Conc.) Fall 2018 Ammonia + Organic Nitrogen (mg/L) | [5 empty] | F-ps= | 0.03
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.111) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.111 | 0.111 | 100 | 0 | Colorimetric | 0
59 | DCLS | 0.1 | 0.111 | 90.0901 | 0.011 | Colorimetric | 0.36667
105 | PADEP | < 1.00 | 0.111 | #VALUE! | #VALUE! | Colorimetric | #VALUE!
319 | FairfaxDPW |  |  |  |  | Colorimetric
N-140 (High Conc.) Fall 2018 Ammonia + Organic Nitrogen (mg/L) | [5 empty] | F-ps= | 0.076
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.486) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.486 | 0.486 | 100 | 0 | Colorimetric | 0
59 | DCLS | 0.46 | 0.486 | 94.6502 | 0.026 | Colorimetric | 0.34211
319 | FairfaxDPW
1.77

## NH3
N-139 (Low Conc.) Fall 2018 Ammonia (mg/L) | [5 empty] | F-ps= | 0.015
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.079) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.071 | 0.079 | 89.8734 | 0.008 | Colorimetric | 0.53333
59 | DCLS | 0.09 | 0.079 | 113.9241 | 0.011 | Colorimetric | 0.73333
105 | PADEP | 0.07 | 0.079 | 88.6076 | 0.009 | Colorimetric | 0.6
118 | OWML
198 | DHMH | 0.077 | 0.079 | 97.4684 | 0.002 | Colorimetric | 0.13333
297 | DNREC | 0.08 | 0.079 | 101.2658 | 0.001 | Colorimetric | 0.066667
316 | ODU | 0.1033 | 0.079 | 130.7595 | 0.0243 | Colorimetric | 1.62
318 | CBL | 0.067 | 0.079 | 84.8101 | 0.012 | Colorimetric | 0.8
319 | FairfaxDPW
320 | Horn Point | 0.0807 | 0.079 | 102.1519 | 0.0017 | Colorimetric | 0.11333
N-140 (High Conc.) Fall 2018 Ammonia (mg/L) | [5 empty] | F-ps= | 0.032
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.413) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.383 | 0.413 | 92.7361 | 0.03 | Colorimetric | 0.9375
59 | DCLS | 0.41 | 0.413 | 99.2736 | 0.003 | Colorimetric | 0.09375
118 | OWML | 0.45 | 0.413 | 108.9588 | 0.037 | Colorimetric | 1.1563
198 | DHMH | 0.423 | 0.413 | 102.4213 | 0.01 | Colorimetric | 0.3125
297 | DNREC | 0.424 | 0.413 | 102.6634 | 0.011 | Colorimetric | 0.34375
318 | CBL | 0.391 | 0.413 | 94.6731 | 0.022 | Colorimetric | 0.6875
319 | FairfaxDPW
320 | Horn Point | 0.434 | 0.413 | 105.0847 | 0.021 | Colorimetric | 0.65625

## NO3
N-139 (Low Conc.) Fall 2018 Nitrate (mg/L) | [5 empty] | F-ps= | 0.019
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.198) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.2 | 0.198 | 101.0101 | 0.002 | Colorimetric | 0.10526
59 | DCLS | 0.19 | 0.198 | 95.9596 | 0.008 | Colorimetric | 0.42105
105 | PADEP | 0.2 | 0.198 | 101.0101 | 0.002 | Colorimetric | 0.10526
118 | OWML
297 | DNREC | 0.176 | 0.198 | 88.8889 | 0.022 | Colorimetric | 1.1579
316 | ODU | 0.3244 | 0.198 | 163.8384 | 0.1264 | Colorimetric | 6.6526
N-136 (High Conc.) Fall 2017 Nitrate (mg/L) | [5 empty] | F-ps= | 0.016
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.655) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.639 | 0.655 | 97.5573 | 0.016 | Colorimetric | 1
59 | DCLS | 0.66 | 0.655 | 100.7634 | 0.005 | Colorimetric | 0.3125
118 | OWML | 0.71 | 0.655 | 108.3969 | 0.055 | Colorimetric | 3.4375
297 | DNREC | 0.632 | 0.655 | 96.4885 | 0.023 | Colorimetric | 1.4375

## PO4
N-139 (Low Conc.) Fall 2018 Orthophosphate (mg/L) | [5 empty] | F-ps= | 0.013
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.093) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.078 | 0.093 | 83.871 | 0.015 | Colorimetric | 1.1538
59 | DCLS | 0.108 | 0.093 | 116.129 | 0.015 | Colorimetric | 1.1538
105 | PADEP | 0.093 | 0.093 | 100 | 0 | Colorimetric | 0
118 | OWML
198 | DHMH | 0.093 | 0.093 | 100 | 0 | Colorimetric | 0
297 | DNREC | 0.097 | 0.093 | 104.3011 | 0.004 | Colorimetric | 0.30769
316 | ODU | 0.1171 | 0.093 | 125.914 | 0.0241 | Colorimetric | 1.8538
318 | CBL | 0.103 | 0.093 | 110.7527 | 0.01 | Colorimetric | 0.76923
319 | FairfaxDPW
320 | Horn Point | 0.104 | 0.093 | 111.828 | 0.011 | Colorimetric | 0.84615
N-140 (High Conc.) Fall 2018 Orthophosphate (mg/L) | [5 empty] | F-ps= | 0.01
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.290) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.226 | 0.29 | 77.931 | 0.064 | Colorimetric | 6.4
59 | DCLS | 0.29 | 0.29 | 100 | 0 | Colorimetric | 0
118 | OWML | 0.3 | 0.29 | 103.4483 | 0.01 | Colorimetric | 1
198 | DHMH | 0.292 | 0.29 | 100.6897 | 0.002 | Colorimetric | 0.2
297 | DNREC | 0.304 | 0.29 | 104.8276 | 0.014 | Colorimetric | 1.4
318 | CBL | 0.2926 | 0.29 | 100.8966 | 0.0026 | Colorimetric | 0.26
319 | FairfaxDPW
320 | Horn Point | 0.283 | 0.29 | 97.5862 | 0.007 | Colorimetric | 0.7

## NO2+NO3
N-139 (Low Conc.) Fall 2018 Nitrite + Nitrate (mg/L) | [5 empty] | F-ps= | 0.012
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.200) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.201 | 0.2 | 100.5 | 0.001 | Colorimetric | 0.083333
59 | DCLS | 0.19 | 0.2 | 95 | 0.01 | Colorimetric | 0.83333
105 | PADEP | 0.2 | 0.2 | 100 | 0 | Colorimetric | 0
118 | OWML
198 | DHMH | 0.2 | 0.2 | 100 | 0 | Colorimetric | 0
297 | DNREC | 0.18 | 0.2 | 90 | 0.02 | Colorimetric | 1.6667
316 | ODU | 0.3245 | 0.2 | 162.25 | 0.1245 | Colorimetric | 10.375
318 | CBL | 0.204 | 0.2 | 102 | 0.004 | Colorimetric | 0.33333
319 | FairfaxDPW
320 | Horn Point | 0.203 | 0.2 | 101.5 | 0.003 | Colorimetric | 0.25
N-140 (High Conc.) Fall 2018 Nitrite + Nitrate (mg/L) | [5 empty] | F-ps= | 0.022
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) 0.663 | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.642 | 0.663 | 96.8326 | 0.021 | Colorimetric | 0.95455
59 | DCLS | 0.67 | 0.663 | 101.0558 | 0.007 | Colorimetric | 0.31818
118 | OWML | 0.71 | 0.663 | 107.089 | 0.047 | Colorimetric | 2.1364
198 | DHMH | 0.678 | 0.663 | 102.2624 | 0.015 | Colorimetric | 0.68182
297 | DNREC | 0.64 | 0.663 | 96.5309 | 0.023 | Colorimetric | 1.0455
318 | CBL | 0.638 | 0.663 | 96.2293 | 0.025 | Colorimetric | 1.1364
319 | FairfaxDPW
320 | Horn Point | 0.673 | 0.663 | 101.5083 | 0.01 | Colorimetric | 0.45455
1.44