## TN
N-129 (Low Conc.) Spring 2016 Total Nitrogen (mg/L) | [5 empty] | F-ps= | 0.046
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.437) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value |  | Absolute Z Value | Rating
1 | NWML | 0.494 | 0.48 | 102.9167 | 0.014 | Colorimetric | 0.30435 |  | <0.5 | Excellent
59 | DCLS | 0.46 | 0.48 | 95.8333 | 0.02 | Colorimetric | 0.43478 |  | 0.51-1.0 | Good
105 | PADEP | 0.48 | 0.48 | 100 | 0 | Colorimetric | 0 |  | 1.01-1.50 | Satisfactory
118 | OWML | 0.47 | 0.48 | 97.9167 | 0.01 | Colorimetric | 0.21739 |  | 1.51-2.0 | Marginal
198 | DHMH | 0.445 | 0.48 | 92.7083 | 0.035 | Colorimetric | 0.76087 |  | >2.0 | Unsatisfactory
297 | DNREC | did not participate |  |  |  | Colorimetric
316 | ODU | 0.476 | 0.48 | 99.1667 | 0.004 | Colorimetric | 0.086957
318 | CBL | 0.483 | 0.48 | 100.625 | 0.003 | Colorimetric | 0.065217
319 | FairfaxDPW | 0.667 | 0.48 | 138.9583 | 0.187 | Colorimetric | 4.0652
320 | Horn Point | 0.479 | 0.48 | 99.7917 | 0.001 | Colorimetric | 0.021739
Absolute Z Value Equation
[8 empty] | F-ps= | (Uh-Lh)/1.349
[8 empty] | Uh= | Median of the upper half of reported Values
[8 empty] | Lh= | Median of the lower half of reported values
N-130 (High Conc.) Spring 2016 Total Nitrogen (mg/L) | [5 empty] | F-ps= | 0.154
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (3.53) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 2.47 | 2.32 | 106.4655 | 0.15 | Colorimetric | 0.97403
59 | DCLS | 2.32 | 2.32 | 100 | 0 | Colorimetric | 0
198 | DHMH | 2.264 | 2.32 | 97.5862 | 0.056 | Colorimetric | 0.36364
319 | FairfaxDPW | 2.28 | 2.32 | 98.2759 | 0.04 | Colorimetric | 0.25974
320 | Horn Point | 2.48 | 2.32 | 106.8966 | 0.16 | Colorimetric | 1.039
318 | CBL | 2.423 | 2.32 | 104.4397 | 0.103 | Colorimetric | 0.66883
1.1

## TP
N-129 (Low Conc.) Spring 2016 Total Phosphorus (mg/L) | [5 empty] | F-ps= | 0.008
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.140) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.214 | 0.214 | 100 | 0 | Colorimetric | 0
59 | DCLS | 0.204 | 0.214 | 95.3271 | 0.01 | Colorimetric | 1.25
105 | PADEP | 0.218 | 0.214 | 101.8692 | 0.004 | Colorimetric | 0.5
118 | OWML | 0.21 | 0.214 | 98.1308 | 0.004 | Colorimetric | 0.5
198 | DHMH | 0.206 | 0.214 | 96.2617 | 0.008 | Colorimetric | 1
297 | DNREC | did not participate |  |  |  | Colorimetric
316 | ODU | 0.2126 | 0.214 | 99.3458 | 0.0014 | Colorimetric | 0.175
318 | CBL | 0.2352 | 0.214 | 109.9065 | 0.0212 | Colorimetric | 2.65
319 | FairfaxDPW | 0.217 | 0.214 | 101.4019 | 0.003 | Colorimetric | 0.375
320 | Horn Point | 0.227 | 0.214 | 106.0748 | 0.013 | Colorimetric | 1.625
N-130 (High Conc.) Spring 2016 Total Phosphorus (mg/L) | [5 empty] | F-ps= | 0.029
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.423) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.582 | 0.573 | 101.5707 | 0.009 | Colorimetric | 0.31034
59 | DCLS | 0.572 | 0.573 | 99.8255 | 0.001 | Colorimetric | 0.034483
198 | DHMH | 0.605 | 0.573 | 105.5846 | 0.032 | Colorimetric | 1.1034
297 | DNREC | Did not participate
318 | CBL | 0.562 | 0.573 | 98.0803 | 0.011 | Colorimetric | 0.37931
320 | Horn Point | 0.625 | 0.573 | 109.075 | 0.052 | Colorimetric | 1.7931
319 | FairfaxDPW | 0.56 | 0.573 | 97.7312 | 0.013 | Colorimetric | 0.44828
0.85

## TKN
N-129 (Low Conc.) Spring 2016 Ammonia + Organic Nitrogen (mg/L) | [5 empty] | F-ps= | 0.049
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.139) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.214 | 0.24 | 89.1667 | 0.026 | Colorimetric | 0.53061
59 | DCLS | 0.17 | 0.24 | 70.8333 | 0.07 | Colorimetric | 1.4286
105 | PADEP | < 1.00 | 0.24 | - | - | Colorimetric | -
319 | FairfaxDPW | 0.404 | 0.24 | 168.3333 | 0.164 | Colorimetric | 3.3469
N-130 (High Conc.) Spring 2016 Ammonia + Organic Nitrogen (mg/L) | [5 empty] | F-ps= | 0.078
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.518) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.557 | 0.547 | 101.8282 | 0.01 | Colorimetric | 0.12821
319 | FairfaxDPW | 0.453 | 0.547 | 82.8154 | 0.094 | Colorimetric | 1.2051
59 | DCLS | 0.52 | 0.547 | 95.064 | 0.027 | Colorimetric | 0.34615
1.77

## NH3
N-129 (Low Conc.) Spring 2016 Ammonia (mg/L) | [5 empty] | F-ps= | 0.013
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.111) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.183 | 0.185 | 98.9189 | 0.002 | Colorimetric | 0.15385
59 | DCLS | 0.19 | 0.185 | 102.7027 | 0.005 | Colorimetric | 0.38462
105 | PADEP | 0.17 | 0.185 | 91.8919 | 0.015 | Colorimetric | 1.1538
118 | OWML | 0.2 | 0.185 | 108.1081 | 0.015 | Colorimetric | 1.1538
198 | DHMH | 0.181 | 0.185 | 97.8378 | 0.004 | Colorimetric | 0.30769
297 | DNREC | 0.1778 | 0.185 | 96.1081 | 0.0072 | Colorimetric | 0.55385
316 | ODU | 0.1961 | 0.185 | 106 | 0.0111 | Colorimetric | 0.85385
318 | CBL | 0.198 | 0.185 | 107.027 | 0.013 | Colorimetric | 1
319 | FairfaxDPW | 0.163 | 0.185 | 88.1081 | 0.022 | Colorimetric | 1.6923
320 | Horn Point | 0.189 | 0.185 | 102.1622 | 0.004 | Colorimetric | 0.30769
N-130 (High Conc.) Spring 2016 Ammonia (mg/L) | [5 empty] | F-ps= | 0.019
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.437) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.455 | 0.457 | 99.5624 | 0.002 | Colorimetric | 0.10526
59 | DCLS | 0.47 | 0.457 | 102.8446 | 0.013 | Colorimetric | 0.68421
198 | DHMH | 0.467 | 0.457 | 102.1882 | 0.01 | Colorimetric | 0.52632
297 | DNREC | 0.4609 | 0.457 | 100.8534 | 0.0039 | Colorimetric | 0.20526
318 | CBL | 0.473 | 0.457 | 103.5011 | 0.016 | Colorimetric | 0.84211
320 | Horn Point | 0.493 | 0.457 | 107.8775 | 0.036 | Colorimetric | 1.8947
319 | FairfaxDPW | 0.388 | 0.457 | 84.9015 | 0.069 | Colorimetric | 3.6316

## NO3
N-129 (Low Conc.) Spring 2016 Nitrate (mg/L) | [5 empty] | F-ps= | 0.021
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.308) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.255 | 0.267 | 95.5056 | 0.012 | Colorimetric | 0.57143
59 | DCLS | 0.27 | 0.267 | 101.1236 | 0.003 | Colorimetric | 0.14286
105 | PADEP | 0.25 | 0.267 | 93.633 | 0.017 | Colorimetric | 0.80952
118 | OWML | 0.25 | 0.267 | 93.633 | 0.017 | Colorimetric | 0.80952
297 | DNREC | 0.254 | 0.267 | 95.1311 | 0.013 | Colorimetric | 0.61905
316 | ODU | 0.2653 | 0.267 | 99.3633 | 0.0017 | Colorimetric | 0.080952
N-130 (High Conc.) Spring 2016 Nitrate (mg/L) | [5 empty] | F-ps= | 0.046
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (3.04) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 1.71 | 1.71 | 100 | 0 | Colorimetric | 0
59 | DCLS | 1.74 | 1.71 | 101.7544 | 0.03 | Colorimetric | 0.65217
297 | DNREC | 1.605 | 1.71 | 93.8596 | 0.105 | Colorimetric | 2.2826

## PO4
N-129 (Low Conc.) Spring 2016 Orthophosphate (mg/L) | [5 empty] | F-ps= | 0.011
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.106) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.2 | 0.208 | 96.1538 | 0.008 | Colorimetric | 0.72727
59 | DCLS | 0.208 | 0.208 | 100 | 0 | Colorimetric | 0
105 | PADEP | 0.193 | 0.208 | 92.7885 | 0.015 | Colorimetric | 1.3636
118 | OWML | 0.21 | 0.208 | 100.9615 | 0.002 | Colorimetric | 0.18182
198 | DHMH | 0.201 | 0.208 | 96.6346 | 0.007 | Colorimetric | 0.63636
297 | DNREC | 0.211 | 0.208 | 101.4423 | 0.003 | Colorimetric | 0.27273
316 | ODU | 0.216 | 0.208 | 103.8462 | 0.008 | Colorimetric | 0.72727
318 | CBL | 0.228 | 0.208 | 109.6154 | 0.02 | Colorimetric | 1.8182
319 | FairfaxDPW | 0.218 | 0.208 | 104.8077 | 0.01 | Colorimetric | 0.90909
320 | Horn Point | 0.207 | 0.208 | 99.5192 | 0.001 | Colorimetric | 0.090909
N-130 (High Conc.) Spring 2016 Orthophosphate (mg/L) | [5 empty] | F-ps= | 0.02
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.412) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.587 | 0.565 | 103.8938 | 0.022 | Colorimetric | 1.1
59 | DCLS | 0.543 | 0.565 | 96.1062 | 0.022 | Colorimetric | 1.1
198 | DHMH | 0.585 | 0.565 | 103.5398 | 0.02 | Colorimetric | 1
297 | DNREC | 0.576 | 0.565 | 101.9469 | 0.011 | Colorimetric | 0.55
318 | CBL | 0.559 | 0.565 | 98.9381 | 0.006 | Colorimetric | 0.3
320 | Horn Point | 0.545 | 0.565 | 96.4602 | 0.02 | Colorimetric | 1
319 | FairfaxDPW | 0.56 | 0.565 | 99.115 | 0.005 | Colorimetric | 0.25

## NO2+NO3
N-129 (Low Conc.) Spring 2016 Nitrite + Nitrate (mg/L) | [5 empty] | F-ps= | 0.013
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.302) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 0.256 | 0.267 | 95.8801 | 0.011 | Colorimetric | 0.84615
59 | DCLS | 0.27 | 0.267 | 101.1236 | 0.003 | Colorimetric | 0.23077
105 | PADEP | 0.25 | 0.267 | 93.633 | 0.017 | Colorimetric | 1.3077
118 | OWML | 0.25 | 0.267 | 93.633 | 0.017 | Colorimetric | 1.3077
198 | DHMH | 0.265 | 0.267 | 99.2509 | 0.002 | Colorimetric | 0.15385
297 | DNREC | 0.256 | 0.267 | 95.8801 | 0.011 | Colorimetric | 0.84615
316 | ODU | 0.2654 | 0.267 | 99.4007 | 0.0016 | Colorimetric | 0.12308
318 | CBL | 0.271 | 0.267 | 101.4981 | 0.004 | Colorimetric | 0.30769
319 | FairfaxDPW | 0.263 | 0.267 | 98.5019 | 0.004 | Colorimetric | 0.30769
320 | Horn Point | 0.274 | 0.267 | 102.6217 | 0.007 | Colorimetric | 0.53846
N-130 (High Conc.) Spring 2016 Nitrite + Nitrate (mg/L) | [5 empty] | F-ps= | 0.044
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) 3.04 | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWML | 1.81 | 1.81 | 100 | 0 | Colorimetric | 0
59 | DCLS | 1.85 | 1.81 | 102.2099 | 0.04 | Colorimetric | 0.90909
198 | DHMH | 1.783 | 1.81 | 98.5083 | 0.027 | Colorimetric | 0.61364
297 | DNREC | 1.698 | 1.81 | 93.8122 | 0.112 | Colorimetric | 2.5455
318 | CBL | 1.9 | 1.81 | 104.9724 | 0.09 | Colorimetric | 2.0455
320 | Horn Point | 1.86 | 1.81 | 102.7624 | 0.05 | Colorimetric | 1.1364
319 | FairfaxDPW | 1.83 | 1.81 | 101.105 | 0.02 | Colorimetric | 0.45455
1.44