## TN
N-153 (Low Conc.) Spring 2022 Total Nitrogen (mg/L) | [5 empty] | F-ps= | 0.033
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.575) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value | Absolute Z Value | Rating
1 | NWQL | 0.501 | 0.482 | 103.9419 | 0.019 | Colorimetric | 0.57576 | <0.5 | Excellent
59 | DCLS | 0.46 | 0.482 | 95.4357 | 0.022 | Colorimetric | 0.66667 | 0.51-1.0 | Good
105 | PADEP | 0.42 | 0.482 | 87.1369 | 0.062 | Colorimetric | 1.8788 | 1.01-1.50 | Satisfactory
118 | VPI | 0.482 | 0.482 | 100 | 0 | Colorimetric | 0 | 1.51-2.0 | Marginal
198 | MDH | 0.497 | 0.482 | 103.112 | 0.015 | Colorimetric | 0.45455 | >2.0 | Unsatisfactory
297 | DNREC | 0.505 | 0.482 | 104.7718 | 0.023 | Colorimetric | 0.69697
316 | ODU | 0.48 | 0.482 | 99.5851 | 0.002 | Colorimetric | 0.060606
318 | CBL | 0.5 | 0.482 | 103.7344 | 0.018 | Colorimetric | 0.54545
319 | FairfaxDPW | 0.461 | 0.482 | 95.6432 | 0.021 | Colorimetric | 0.63636
N-154 (High Conc.) Spring 2022 Total Nitrogen (mg/L) | [5 empty] | F-ps= | 0.116
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (1.55) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWQL | 1.14 | 1.12 | 101.7857 | 0.02 | Colorimetric | 0.17241
59 | DCLS | 1.11 | 1.12 | 99.1071 | 0.01 | Colorimetric | 0.086207
118 | VPI | 1.259 | 1.12 | 112.4107 | 0.139 | Colorimetric | 1.1983
198 | MDH | 1.143 | 1.12 | 102.0536 | 0.023 | Colorimetric | 0.19828
297 | DNREC | 1.12 | 1.12 | 100 | 0 | Colorimetric | 0
318 | CBL | 1.12 | 1.12 | 100 | 0 | Colorimetric | 0
319 | FairfaxDPW | 1.21 | 1.12 | 108.0357 | 0.09 | Colorimetric | 0.77586

## TP
N-153 (Low Conc.) Spring 2022 Total Phosphorus (mg/L) | [5 empty] | F-ps= | 0.007
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.184) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value | Absolute Z Value | Rating
1 | NWQL | 0.102 | 0.098 | 104.0816 | 0.004 | Colorimetric | 0.57143 | <0.5 | Excellent
59 | DCLS | 0.09 | 0.098 | 91.8367 | 0.008 | Colorimetric | 1.1429 | 0.51-1.0 | Good
105 | PADEP | 0.102 | 0.098 | 104.0816 | 0.004 | Colorimetric | 0.57143 | 1.01-1.50 | Satisfactory
118 | VPI | 0.087 | 0.098 | 88.7755 | 0.011 | Colorimetric | 1.5714 | 1.51-2.0 | Marginal
198 | MDH | 0.094 | 0.098 | 95.9184 | 0.004 | Colorimetric | 0.57143 | >2.0 | Unsatisfactory
297 | DNREC | 0.0981 | 0.098 | 100.102 | 0.0001 | Colorimetric | 0.014286
316 | ODU | 0.1038 | 0.098 | 105.9184 | 0.0058 | Colorimetric | 0.82857
318 | CBL | 0.0971 | 0.098 | 99.0816 | 0.0009 | Colorimetric | 0.12857
319 | FairfaxDPW | 0.105 | 0.098 | 107.1429 | 0.007 | Colorimetric | 1
N-154 (High Conc.) Spring 2022 Total Phosphorus (mg/L) | [5 empty] | F-ps= | 0.021
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.450) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWQL | 0.27 | 0.293 | 92.1502 | 0.023 | Colorimetric | 1.0952
59 | DCLS | 0.3 | 0.293 | 102.3891 | 0.007 | Colorimetric | 0.33333
118 | VPI | 0.273 | 0.293 | 93.1741 | 0.02 | Colorimetric | 0.95238
198 | MDH | 0.295 | 0.293 | 100.6826 | 0.002 | Colorimetric | 0.095238
297 | DNREC | 0.294 | 0.293 | 100.3413 | 0.001 | Colorimetric | 0.047619
318 | CBL | 0.2745 | 0.293 | 93.686 | 0.0185 | Colorimetric | 0.88095
319 | FairfaxDPW | 0.314 | 0.293 | 107.1672 | 0.021 | Colorimetric | 1

## TKN
N-153 (Low Conc.) Spring 2022 Ammonia + Organic Nitrogen (mg/L) | [5 empty] | F-ps= | 0.03
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.17) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value | Absolute Z Value | Rating
1 | NWQL | 0.101 | 0.1 | 101 | 0.001 | Colorimetric | 0.033333 | <0.5 | Excellent
59 | DCLS | 0.1 | 0.1 | 100 | 0 | Colorimetric | 0 | 0.51-1.0 | Good
319 | FairfaxDPW | 0.055 | 0.1 | 55 | 0.045 | Colorimetric | 1.5 | 1.01-1.50 | Satisfactory
[8 empty] | 1.51-2.0 | Marginal
[8 empty] | >2.0 | Unsatisfactory
N-154 (High Conc.) Spring 2022 Ammonia + Organic Nitrogen (mg/L) | [5 empty] | F-ps= | 0.045
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.400) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWQL | 0.298 | 0.314 | 94.9045 | 0.016 | Colorimetric | 0.35556
59 | DCLS | 0.3 | 0.314 | 95.5414 | 0.014 | Colorimetric | 0.31111
319 | FairfaxDPW | 0.42 | 0.314 | 133.758 | 0.106 | Colorimetric | 2.3556

## NH3
N-153 (Low Conc.) Spring 2022 Ammonia (mg/L) | [5 empty] | F-ps= | 0.009
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.154) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value | Absolute Z Value | Rating
1 | NWQL | 0.127 | 0.066 | 192.4242 | 0.061 | Colorimetric | 6.7778 | <0.5 | Excellent
59 | DCLS | 0.06 | 0.066 | 90.9091 | 0.006 | Colorimetric | 0.66667 | 0.51-1.0 | Good
105 | PADEP | 0.06 | 0.066 | 90.9091 | 0.006 | Colorimetric | 0.66667 | 1.01-1.50 | Satisfactory
118 | VPI | 0.074 | 0.066 | 112.1212 | 0.008 | Colorimetric | 0.88889 | 1.51-2.0 | Marginal
198 | MDH | 0.054 | 0.066 | 81.8182 | 0.012 | Colorimetric | 1.3333 | >2.0 | Unsatisfactory
297 | DNREC | 0.07 | 0.066 | 106.0606 | 0.004 | Colorimetric | 0.44444
316 | ODU | 0.0615 | 0.066 | 93.1818 | 0.0045 | Colorimetric | 0.5
318 | CBL | 0.0651 | 0.066 | 98.6364 | 0.0009 | Colorimetric | 0.1
319 | FairfaxDPW | 0.073 | 0.066 | 110.6061 | 0.007 | Colorimetric | 0.77778
N-154 (High Conc.) Spring 2022 Ammonia (mg/L) | [5 empty] | F-ps= | 0.03
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.280) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWQL | 0.127 | 0.138 | 92.029 | 0.011 | Colorimetric | 0.36667
59 | DCLS | 0.14 | 0.138 | 101.4493 | 0.002 | Colorimetric | 0.066667
118 | VPI | 0.151 | 0.138 | 109.4203 | 0.013 | Colorimetric | 0.43333
198 | MDH | 0.144 | 0.138 | 104.3478 | 0.006 | Colorimetric | 0.2
297 | DNREC | 0.154 | 0.138 | 111.5942 | 0.016 | Colorimetric | 0.53333
318 | CBL | 0.1551 | 0.138 | 112.3913 | 0.0171 | Colorimetric | 0.57
319 | FairfaxDPW | 0.124 | 0.138 | 89.8551 | 0.014 | Colorimetric | 0.46667

## PO4
N-153 (Low Conc.) Spring 2022 Orthophosphate (mg/L) | [5 empty] | F-ps= | 0.012
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.160) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value | Absolute Z Value | Rating
1 | NWQL | 0.084 | 0.088 | 95.4545 | 0.004 | Colorimetric | 0.33333 | <0.5 | Excellent
59 | DCLS | 0.08 | 0.088 | 90.9091 | 0.008 | Colorimetric | 0.66667 | 0.51-1.0 | Good
105 | PADEP | 0.091 | 0.088 | 103.4091 | 0.003 | Colorimetric | 0.25 | 1.01-1.50 | Satisfactory
118 | VPI | 0.091 | 0.088 | 103.4091 | 0.003 | Colorimetric | 0.25 | 1.51-2.0 | Marginal
198 | MDH | 0.088 | 0.088 | 100 | 0 | Colorimetric | 0 | >2.0 | Unsatisfactory
297 | DNREC | 0.0889 | 0.088 | 101.0227 | 0.0009 | Colorimetric | 0.075
316 | ODU | 0.0878 | 0.088 | 99.7727 | 0.0002 | Colorimetric | 0.016667
318 | CBL | 0.0863 | 0.088 | 98.0682 | 0.0017 | Colorimetric | 0.14167
319 | FairfaxDPW | 0.085 | 0.088 | 96.5909 | 0.003 | Colorimetric | 0.25
N-154 (High Conc.) Spring 2022 Orthophosphate (mg/L) | [5 empty] | F-ps= | 0.027
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.283) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWQL | 0.266 | 0.281 | 94.6619 | 0.015 | Colorimetric | 0.55556
59 | DCLS | 0.28 | 0.281 | 99.6441 | 0.001 | Colorimetric | 0.037037
118 | VPI | 0.287 | 0.281 | 102.1352 | 0.006 | Colorimetric | 0.22222
198 | MDH | 0.288 | 0.281 | 102.4911 | 0.007 | Colorimetric | 0.25926
297 | DNREC | 0.289 | 0.281 | 102.847 | 0.008 | Colorimetric | 0.2963
318 | CBL | 0.3009 | 0.281 | 107.0819 | 0.0199 | Colorimetric | 0.73704
319 | FairfaxDPW | 0.265 | 0.281 | 94.306 | 0.016 | Colorimetric | 0.59259

## NO3
N-153 (Low Conc.) Spring 2022 Nitrate (mg/L) | [5 empty] | F-ps= | 0.021
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.392) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value | Absolute Z Value | Rating
1 | NWQL | 0.394 | 0.396 | 99.4949 | 0.002 | Colorimetric | 0.095238 | <0.5 | Excellent
59 | DCLS | 0.39 | 0.396 | 98.4848 | 0.006 | Colorimetric | 0.28571 | 0.51-1.0 | Good
105 | PADEP | 0.37 | 0.396 | 93.4343 | 0.026 | Colorimetric | 1.2381 | 1.01-1.50 | Satisfactory
118 | VPI | 0.423 | 0.396 | 106.8182 | 0.027 | Colorimetric | 1.2857 | 1.51-2.0 | Marginal
198 | MDH | 0.385 | 0.396 | 97.2222 | 0.011 | Colorimetric | 0.52381 | >2.0 | Unsatisfactory
297 | DNREC | 0.385 | 0.396 | 97.2222 | 0.011 | Colorimetric | 0.52381
316 | ODU | 0.4184 | 0.396 | 105.6566 | 0.0224 | Colorimetric | 1.0667
N-154 (High Conc.) Spring 2022 Nitrate (mg/L) | [5 empty] | F-ps= | 0.037
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (1.14) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWQL | 0.778 | 0.772 | 100.7772 | 0.006 | Colorimetric | 0.16216
59 | DCLS | 0.79 | 0.772 | 102.3316 | 0.018 | Colorimetric | 0.48649
118 | VPI | 0.865 | 0.772 | 112.0466 | 0.093 | Colorimetric | 2.5135
198 | MDH | 0.762 | 0.772 | 98.7047 | 0.01 | Colorimetric | 0.27027
297 | DNREC | 0.762 | 0.772 | 98.7047 | 0.01 | Colorimetric | 0.27027

## NO2+NO3
N-153 (Low Conc.) Spring 2022 Nitrite + Nitrate (mg/L) | [5 empty] | F-ps= | 0.014
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) (0.393) | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value | Absolute Z Value | Rating
1 | NWQL | 0.394 | 0.401 | 98.2544 | 0.007 | Colorimetric | 0.5 | <0.5 | Excellent
59 | DCLS | 0.39 | 0.401 | 97.2569 | 0.011 | Colorimetric | 0.78571 | 0.51-1.0 | Good
105 | PADEP | 0.37 | 0.401 | 92.2693 | 0.031 | Colorimetric | 2.2143 | 1.01-1.50 | Satisfactory
118 | VPI | 0.423 | 0.401 | 105.4863 | 0.022 | Colorimetric | 1.5714 | 1.51-2.0 | Marginal
198 | MDH | 0.424 | 0.401 | 105.7357 | 0.023 | Colorimetric | 1.6429 | >2.0 | Unsatisfactory
297 | DNREC | 0.385 | 0.401 | 96.01 | 0.016 | Colorimetric | 1.1429
316 | ODU | 0.4187 | 0.401 | 104.414 | 0.0177 | Colorimetric | 1.2643
318 | CBL | 0.428 | 0.401 | 106.7332 | 0.027 | Colorimetric | 1.9286
319 | FairfaxDPW | 0.406 | 0.401 | 101.2469 | 0.005 | Colorimetric | 0.35714
N-154 (High Conc.) Spring 2022 Nitrite + Nitrate (mg/L) | [5 empty] | F-ps= | 0.033
Lab ID | Lab | Reported Value (mg/L) | MPV (mg/L) 1.14 | % Recovery | Diff. From MPV (mg/L) | Method | Absolute Z Value
1 | NWQL | 0.78 | 0.786 | 99.2366 | 0.006 | Colorimetric | 0.18182
59 | DCLS | 0.79 | 0.786 | 100.5089 | 0.004 | Colorimetric | 0.12121
118 | OWML | 0.865 | 0.786 | 110.0509 | 0.079 | Colorimetric | 2.3939
198 | MDH | 0.819 | 0.786 | 104.1985 | 0.033 | Colorimetric | 1
297 | DNREC | 0.762 | 0.786 | 96.9466 | 0.024 | Colorimetric | 0.72727
318 | CBL | 0.839 | 0.786 | 106.743 | 0.053 | Colorimetric | 1.6061
319 | FairfaxDPW | 0.794 | 0.786 | 101.0178 | 0.008 | Colorimetric | 0.24242